### Spécification Anémomètre et direction du vent

Capeurs : Weather Station La Crosse WS 3650

Unit: km/h, m/s, knots, mph or Beaufort

Range : from 0 to 180 km/h (or from 1 to 50 m/s)

Wind direction displayed on a 360° compass

Precision: 0.1 m/s

Recording of the minimum and maximum data measured with time and date

Up to 16 separate alarm setting